## Installations
Community | Location | Year of Installation | Organization/Installer | Installed Size - KW DC | Utility or Customer side of meter
Alatna |  |  | Tanana Chiefs Conference
Allakaket |  | 2019 | Alaska Native Tribal Health Consortium (ANTHC) | 11.7 | Customer
Ambler | Water Plant | 2013 | Northwest Arctic Borough | 8.4 | Customer
Ambler | IRA Building | 2013 | Northwest Arctic Borough | 2.2 | Customer
Arctic Village | Water Plant | 2018 | ANTHC | 3.2 | Customer
Arctic Village |  |  | Tanana Chiefs Conference |  | Customer
Arctic Village | Arctic Village Clinic |  |  | 5 | Customer
Beaver | Water Plant | 2019 | ANTHC | 9 | Customer
Beaver |  |  | Tanana Chiefs Conference
Bethel | Yuut Elitnuarviat Training Center | 2012 | Yuut Elitnuarviat | 10 | Customer
Bettles |  |  | Tanana Chiefs Conference
Buckland | Mounted on conex | 2018 | Deerstone Consulting/ Box Power | 45 | Utility
Buckland |  |  | Northwest Arctic Borough | 10.53
Deering | Mounted on conex | 2018 | Deerstone Consulting/ Box Power |  | Utility
Deering | Mounted on water tank | 2013 | Northwest Arctic Borough | 11.13 | Customer
Eagle | Ground mounted near power plant | 2015 |  | 24 | Utility
Fairbanks - Railbelt | Wilson Substation | 2018 | Golden Valley Electric Association | 563 | Utility
Fort Yukon | Gwichyaa Zhee Tribal Office | 2015 | Tanana Chiefs Conference | 18 | Customer
Galena | Building 1769 | 2019 | Tanana Chiefs Conference | 25.55
Galena |  | 2012 | Tanana Chiefs Conference | 6.7 | Customer
Galena |  |  |  | 10.35 | Customer
Holy Cross | Water Plant | Planned | ANTHC | 11.4 | Customer
Holy Cross |  | 2019 | Tanana Chiefs Conference | 11 | Customer
Houston- Railbelt | Ground Mounted near Houston Middle School | Planned | Renewable IPP | 8500
Hughes | City Building |  | Tanana Chiefs Conference |  | Customer
Hughes | Ground mounted neat power plant |  | Tanana Chiefs Conference | 120 | Utility
Kaltag |  | 2018 | Tanana Chiefs Conference | 7 | Customer
Kaltag | Mounted on conex near power plant | 2012 |  | 9.6 | Utility
Kiana | Water Treatment Plant | 2015 | Northwest Arctic Borough | 10.53 | Customer
King Salmon | Alaska Beartail Lodge | 2014 | Lime Solar | 24.3
Kivalina | Water Treatment Plant |  | Northwest Arctic Borough | 10.53 | Customer
Klawock | Water Plant | 2019 | ANTHC | 3.6 | Customer
Kobuk | Water Plant | 2013 | Northwest Arctic Borough | 7.38
Kotzebue | Kotzebue Bifacial - Phase II | 2023 | Kotzebue Electric Association | 630 | Utility
Kotzebue | Kotzebue Bifacial - Phase I | 2020 | Kotzebue Electric Association | 576 | Utility
Kotzebue | Kotzebue - 1 City Bailing Plant | 2014 | Northwest Arctic Borough | 10.53 | Customer
Kotzebue | Kotzebue - 2 City Water Treatment Plant | 2014 | Northwest Arctic Borough | 10.53 | Customer
Koyukuk | Koyukuk City Building | 2012 | Tanana Chiefs Conference | 5.16 | Customer
Manley |  | 2013 | Tanana Chiefs Conference | 6 | Customer
Naknek | Ground Mounted | 2014 | Capstone/Lime Solar | 80 | Utility
Naknek | Red Salmon Cannery |  | Capstone | 60
Nenana | Nenana teen center | 2005 | Tanana Chiefs Conference | 4.4 | Customer
New Halen | Water Plant | 2018 | ANTHC | 6.6 | Customer
New Stuyahok | Water Plant | 2020 | ANTHC | 12 | Customer
Noatak | Ground Mounted | Planned |  | 275
Noatak | Water Plant | 2013 | Northwest Arctic Borough | 11.27 | Customer
Nome | Bering Straits Development Corporation | 2008 | Bering Straits Development Corporation (BSDC) | 16.8 | Customer
Noorvik | Ground mounted bifacials | 2016 | Northwest Arctic Borough/BSDC | 28.8
Noorvik | Water Plant | 2013 | Northwest Arctic Borough | 12 | Customer
Northway |  | 2019 | Tanana Chiefs Conference | 27
Pitkas Point | Water Plant | 2020 | ANTHC | 12 | Customer
Ruby | Tribal Hall | 2019 | Tanana Chiefs Conference | 10 | Customer
Ruby | Health Clinic |  | Tanana Chiefs Conference | 5.5 | Customer
Ruby | Washeteria |  | Interior Regional Housing Authority | 5.4 | Customer
Russian Mission | Water Plant | 2019 | ANTHC | 6.5 | Customer
Selawik | Water Plant | 2014 | Northwest Arctic Borough | 9.72 | Customer
Selawik |  | 2024 | Northwest Arctic Borough | 500
Shageluk |  |  | Tanana Chiefs Conference
Shungnak | Water Plant | 2013 | Northwest Arctic Borough | 7.5 | Customer
Shungnak - Kobuk | Ground Mounted | 2022 | Northwest Arctic Borough | 223.5
Sleetmute | Water Plant | 2019 | ANTHC | 10 | Customer
Stevens Village |  |  | Tanana Chiefs Conference
Tanacross |  | Planned | Tanana Chiefs Conference | 41
Tanana |  |  | Tanana Chiefs Conference
Venetie |  |  | Tanana Chiefs Conference
Willow | Ground mount near Parks Hwy | 2018 | Renewable IPP | 140 | IPP
Willow - Railbelt | Ground mount near Parks Hwy | 2019 | Renewable IPP | 1200 | IPP
Note on A1: These are just proposed, not built, right?? -Michelle Wilber
Note on A8: Does this include the ANTHC installation listed below? -Christie Haupert I don't know. We could maybe ask Dan with ANTHC if Chris doesn't know... -Michelle Wilber
Note on A48: Is there a breakdown for 2018 Solar Anc installations? -Christie Haupert Chris would be the one to ask, but may want to leave these off as they are residential on an individual level? -Michelle Wilber
Note on A53: Some of these seems to be duplicates of above - need to weed through! -Michelle Wilber
Note on A67: Is this a duplicate of above? -Christie Haupert These solarize ones are wierd - they were cost estimates by individual installation size (where the cost column has been removed) for different neighborhoods in the solarize campaign. They do not correspond, exactly, to actual installations. Probably all of these should be removed. -Michelle Wilber