## main
Project ID Number | Project Name | System ID Number | Funding Anncouncement Number | System Name | Award Number | Enables Diesels-Off (yes/no) | Supports Diesels-Off (yes/no) | System Status | Community Name | Location | Latitude | Longitude | BESS Capacity (kWh) | BESS Throughput (kW) | BESS Manufacturer | BESS Model | BESS Inverter Manufacturer | BESS Inverter Model | BESS Installation Manager | BESS Install Date | BESS Owner | BESS Ownership Structure | PV DC Capacity (kWdc) | PV AC Capacity (kWac) | Number of PV Modules | PV Module Manufacturer | PV Module Model | PV Inverter Manufacturer | PV Inverter Model | PV Installation Manager | PV Install Date | PV Owner | PV Ownership Structure
WTK-2024-00-BP | Noatak Solar-Battery IPP Phase 1 | WTK-2024-00-P | DE-FOA-0002317 | IPP Phase 1 Solar | DE-IE0000146 | yes | yes | operating | Noatak | Community | 67.5691 | -162.9686 | NA | NA | NA |  |  |  | Alaska Northwest Arctic Borough | NA | NA | NA | 280.6 | 250 | 432 | Canadian Solar | 650W Bifacial | EPC Power Corp. | PD 500 |  | 2023-08
WTK-2024-00-BP | Noatak Solar-Battery IPP Phase 1 | WTK-2024-00-B | DE-FOA-0002317 | IPP Phase 1 Battery | DE-IE0000146 | yes | yes | operating | Noatak | Community | 67.5691 | -162.9686 | 442 | 495 | Pylontech |  |  |  | Alaska Northwest Arctic Borough | 2024 | City of Noatak | IPP | 280.6 | 250 | NA | NA | NA | NA | NA |  | NA | NA | NA
WTK-2013-00-P | Noatak Water Plant Solar | WTK-2013-00-P |  | Noatak Water Plant Solar |  | no | no | operating | Noatak | Water Plant | 67.5691 | -162.9686 | NA | NA | NA |  |  |  | Alaska Northwest Arctic Borough | NA | NA | NA
WTK-2024-01-BP | Noatak Solar-Battery IPP Phase 2 | WTK-2024-01-P |  |  |  | no | yes | planned | Noatak | Community | 67.5691 | -162.9686 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
WTK-2024-01-BP | Noatak Solar-Battery IPP Phase 2 | WTK-2024-01-B |  |  |  | no | yes | planned | Noatak | Community | 67.5691 | -162.9686
SHG-2021-00-BP | Shungnak Solar-Battery IPP | SHG-2021-00-P |  |  |  | yes | yes | operating | Shungnak | Community | 66.8894 | -157.1391 | NA | NA | NA |  | NA |  | NA | NA | NA | NA | 223
SHG-2021-00-BP | Shungnak Solar-Battery IPP | SHG-2021-00-B |  |  |  | yes | yes | operating | Shungnak | Community | 66.8885 | -157.1398 | 384
OTZ-2020-00-BP | Kotzebue Solar-Battery Phase 1 | OTZ-2020-00-P |  |  |  | no | no | operating | Kotzebue | Community | 66.8392 | -162.5545 | NA | NA | NA |  | NA |  | NA | NA | NA | NA | 576 | 532.8 | 1440 | LG | LG400N2T-JV | SolarEdge | 6.6-SE 100 |  | 2020 | Kotzebue Electric Association | Owned by Utility
OTZ-2020-00-BP | Kotzebue Solar-Battery Phase 1 | OTZ-2020-00-B |  |  |  | no | no | under repair | Kotzebue | Community | 66.8939 | -162.5979 | 950 | 1130 | Saft | IM-20 | ABB | PCS100 | Kotzebue Electric Association | 2020 | Kotzebue Electric Association | Owned by Utility | NA | NA | NA | NA | NA | NA | NA |  | NA | NA | NA
OTZ-2020-01-BP | Kotzebue Solar Phase 2 | OTZ-2020-01-P |  |  |  | no | no | operating | Kotzebue | Community | 66.8372 | -162.5601 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 630 | 540 | 972 | Canadian Solar |  | Selectra | PV-60-480 |  | 2023 | Kotzebue Electric Association | Owned by Utility
WLK-2014-00-P | Selawik Water Plant | WLK-2014-00-P |  |  |  | no | no | operating | Selawik | Community | 66.6039 | -160.0099 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 9.7 | [7 empty] | 2014
WLK-2025-00-BP | Selawik Solar-Battery | WLK-2025-00-P |  |  |  | yes | yes | planned | Selawik | Community | 66.6039 | -160.0099 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 710 |  | 1340 | Silfab | 530XM
WLK-2025-00-BP | Selawik Solar-Battery | WLK-2025-00-B |  |  |  | yes | yes | planned | Selawik | Community | 66.6039 | -160.0099
AFM-2025-00-BP | Ambler Solar-Battery | AFM-2025-00-B |  |  |  | yes | yes | planned | Ambler | Community | 67.0861 | -157.8582 | 284
AFM-2025-00-BP | Ambler Solar-Battery | AFM-2025-00-P |  |  |  | yes | yes | planned | Ambler | Community | 67.0861 | -157.8582 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 234
AFM-2013-00-P | Ambler Water Plant | AFM-2013-00-P |  | Water Plant Solar |  | no | no | operating | Ambler | Community | 67.0861 | -157.8582 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 8.4 | [6 empty] | Alaska Northwest Arctic Borough | 2013
AFM-2013-01-P | Ambler IRA Building Solar | AFM-2013-01-P |  | IRA Building Solar |  | no | no | operating | Ambler | Community | 67.0861 | -157.8582 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 2.2 | [6 empty] | Alaska Northwest Arctic Borough | 2013
DEE-2019-00-BP | Deering Solar-Battery | DEE-2019-00-B |  | Battery |  | yes | yes | operating | Deering | Community | 67.0861 | -157.8582 | 109 | 277 | Saft | Intensium Mini |  |  | Alaska Northwest Arctic Borough | 2019 |  |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
DEE-2019-00-BP | Deering Solar-Battery | DEE-2019-00-P |  | BoxPower Solar |  | yes | yes | operating | Deering | Community | 66.0805 | -162.7398 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 48.5 | 50 | 126 | Q Cells | 385w | SMA | Tripower 50kW | Alaska Northwest Arctic Borough | 2019
DEE-2013-00-P | Deering Water Tank Solar | DEE-2013-00-P |  | Water Tank Solar |  | no | yes | operating | Deering | Community | 66.075 | -162.7215 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 11.1
BVK-2019-00-BP | Buckland Solar-Battery | BVK-2019-00-P |  | BoxPower Solar |  | yes | yes | operating | Buckland | Community | 65.9764 | -161.1252 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 45.4 | 45 | 126 | Talesun | TP672M-360 | SMA | Tripower 15kW | Alaska Northwest Arctic Borough | 2019
BVK-2019-00-BP | Buckland Solar-Battery | BVK-2019-00-B |  | Battery |  | yes | yes | operating | Buckland | Community | 65.9764 | -161.1252 | 218 | 277 | Saft | Intensium Mini-M |  |  | Alaska Northwest Arctic Borough | 2019 |  |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
BVK-2013-00-P | Buckland Water Tank Solar | BVK-2013-00-P |  | Water Tank Solar |  | no | yes | operating | Buckland | Community | 65.9769 | -161.1263 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 10.5 | [7 empty] | 2013
WBB-2023-00-BW | Stebbins-St Michaels Battery-Wind | WBB-2023-00-B |  | Battery |  | yes | yes | operating | Stebbins | Community | 63.5361 | -162.2935 | 864 | 720 | Pylontech |  | Oztek | RS40 | Alaska Village Electric Cooperative | 2023 | Alaska Village Electric Cooperative |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
KSM-2024-00-BW | St. Mary's Battery-Wind | KSM-2024-00-B |  | Battery |  | yes | yes | unknown | St. Mary's | Community | 62.0537 | -163.1725 | 1000 | 1000 | FREQCON | Lithium Iron Phosphate | FREQCON | FREQCON 4-wire | Alaska Village Electric Cooperative | 2024 | Alaska Village Electric Cooperative |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
AQH-2025-00-B | Quinhagak Battery Energy Storage System | AQH-2025-00-B |  | Battery |  |  |  | planned | Quinhagak | Community | 59.7486 | -161.9069
DUY-2018-00-B | Kongiganak Battery System | DUY-2018-00-B |  | Battery Energy Storage |  | no | no | operating | Kongiganak | Community | 59.9591 | -162.8878 | 300 | 250 | [6 empty] | Puvurnaq Power Company | Owned by Utility | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Note on D5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Ask Ingemar if same as Phase 1
Note on F5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Ask Ingemar if same as Phase 1
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Ask Ingemar if same as Phase 1
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Ask Ingemar if same as Phase 1